## BOQ (hidden)
[8 empty] | Aericon |  |  |  |  | Fairleads |  |  |  |  | Efore |  |  |  |  | GMF |  |  |  |  | Webbers |  |  |  |  | Tswellapele Plants |  |  |  |  | Lumacon
ITEM | MATERIAL DESCRIPTION | UNIT | QTY | SUPPLY & DELIVERY |  | INSTALLATION |  | TOTAL | SUPPLY & | DELIVERY | INSTALLATION |  | TOTAL | SUPPLY & DELIVERY |  | INSTALLATION |  | TOTAL | SUPPLY & DELIVERY |  | INSTALLATION |  | TOTAL | SUPPLY & DELIVERY |  | INSTALLATION |  | TOTAL | SUPPLY & DELIVERY |  | INSTALLATION |  | TOTAL | SUPPLY & DELIVERY |  | INSTALLATION |  | TOTAL
No |  |  |  | RATE | TOTAL | RATE | TOTAL | COST | RATE | TOTAL | RATE | TOTAL | COST | RATE | TOTAL | RATE | TOTAL | COST | RATE | TOTAL | RATE | TOTAL | COST | RATE | TOTAL | RATE | TOTAL | COST | RATE | TOTAL | RATE | TOTAL | COST | RATE | TOTAL | RATE | TOTAL | COST
1 | DB W5.1
1.1 | Upgrade/Replacement-Schneider DB, Surface mounted (PROVISIONAL SUM) | ITEM | 1 | 86000 | 86000 | 9900 | 9900 | 95900 | 86000 | 86000 | 8600 | 8600 | 94600 | 95334 | 95334 | 10332 | 10332 | 105666 | 86000 | 86000 | 8600 | 8600 | 94600 | 86000 | 86000 | 8033.75 | 8033.75 | 94033.75 | 86000 | 86000 | 2500 | 2500 | 88500 | 86000 | 86000 |  |  | 86000
[24 empty] | 4300 | 4300 |  |  | 4300
2 | Light duty Cable trays and baskets fixed at 2m intervals, with trapeeze brackets.
2.1 | 300mm straight length | M | 45 | 172.66 | 7769.7 | 178 | 8010 | 15779.7 | 110 | 4950 | 65 | 2925 | 7875 | 130.62 | 5877.9 | 104.6 | 4707 | 10584.9 | 145.8 | 6561 | 35 | 1575 | 8136 | 136.59 | 6146.55 | 90.6 | 4077 | 10223.55 | 125 | 5625 | 27.5 | 1237.5 | 6862.5 | 195 | 8775 | 65 | 2925 | 11700
2.2 | 150mm straight length and cover | M | 0
2.3 | 300mm horizontal elbow | ITEM | 8 | 368.67 | 2949.36 | 160 | 1280 | 4229.36 | 80 | 640 | 60 | 480 | 1120 | 144.4 | 1155.2 | 43 | 344 | 1499.2 | 270 | 2160 | 36.25 | 290 | 2450 | 139.13 | 1113.04 | 102.56 | 820.48 | 1933.52 | 140 | 1120 | 15 | 120 | 1240 | 325 | 2600 | 91 | 728 | 3328
2.4 | 150mm horizontal elbow | ITEM | 8 | 237.8 | 1902.4 | 160 | 1280 | 3182.4 | 70 | 560 | 60 | 480 | 1040 | 89.8 | 718.4 | 43 | 344 | 1062.4 | 190 | 1520 | 36.25 | 290 | 1810 | 87.93 | 703.44 | 50 | 400 | 1103.44 | 88 | 704 | 15 | 120 | 824 | 195 | 1560 | 65 | 520 | 2080
2.5 | 300mm Riser / Dropper | ITEM | 8 | 312.01 | 2496.08 | 160 | 1280 | 3776.08 | 80 | 640 | 70 | 560 | 1200 | 93.2 | 745.6 | 43 | 344 | 1089.6 | 140 | 1120 | 40 | 320 | 1440 | 90.34 | 722.72 | 102.56 | 820.48 | 1543.2 | 95 | 760 | 20 | 160 | 920 | 325 | 2600 | 91 | 728 | 3328
2.6 | 150mm Riser / Dropper | ITEM | 0
2.7 | 150mm straight length WWMD (basket) | M | 12 | 85.39 | 1024.68 | 78 | 936 | 1960.68 | 55 | 660 | 65 | 780 | 1440 | 110.25 | 1323 | 104.6 | 1255.2 | 2578.2 | 46.9 | 562.8 | 20 | 240 | 802.8 | 88.4 | 1060.8 | 65.72 | 788.64 | 1849.44 | 65 | 780 | 27.5 | 330 | 1110 | 325 | 3900 | 91 | 1092 | 4992
2.8 | 150mm straight length WWMD bends | Ea | 6 | 237.8 | 1426.8 | 178 | 1068 | 2494.8 | 130 | 780 | 60 | 360 | 1140 | 154.52 | 927.12 | 43.2 | 259.2 | 1186.32 | 132 | 792 | 53.4 | 320.4 | 1112.4 | 101.6 | 609.6 | 50.01 | 300.06 | 909.66 | 95 | 570 | 15 | 90 | 660 | 156 | 936 | 65 | 390 | 1326
2.9 | 150mm straight length WWMD Tee-piece | Ea | 6 | 513.91 | 3083.46 | 160 | 960 | 4043.46 | 280 | 1680 | 70 | 420 | 2100 | 334 | 2004 | 55.4 | 332.4 | 2336.4 | 247.5 | 1485 | 53.4 | 320.4 | 1805.4 | 189.16 | 1134.96 | 66.23 | 397.38 | 1532.34 | 169 | 1014 | 15 | 90 | 1104 | 585 | 3510 | 130 | 780 | 4290
| 300mm Tee piece | ITEM | 6 | 112.86 | 677.16 | 160 | 960 | 1637.16 | 400 | 2400 | 70 | 420 | 2820 | 171.7 | 1030.2 | 55.4 | 332.4 | 1362.6 | [5 empty] | 163.76 | 982.56 | 138.19 | 829.14 | 1811.7 | 245 | 1470 | 15 | 90 | 1560 | 845 | 5070 | 130 | 780 | 5850
| 150mm Tee piece | ITEM | 6 | 151.52 | 909.12 | 160 | 960 | 1869.12 | 130 | 780 | 70 | 420 | 1200 | 99 | 594 | 55.4 | 332.4 | 926.4 | 330 | 1980 | 42.5 | 255 | 2235 | 96.14 | 576.84 | 66.23 | 397.38 | 974.22 | 75 | 450 | 15 | 90 | 540 | 585 | 3510 | 104 | 624 | 4134
3 | Two compartment powerskirting
3.1 | Epoxy coated - supply and installation | M | 60 | 150 | 9000 | 150 | 9000 | 18000 | 160 | 9600 | 45 | 2700 | 12300 | 186.2 | 11172 | 80.35 | 4821 | 15993 | 130.2 | 7812 | 45.5 | 2730 | 10542 | 197.55 | 11853 | 60.93 | 3655.8 | 15508.8 | 195 | 11700 | 45 | 2700 | 14400 | 325 | 19500 | 130 | 7800 | 27300
| 90 deg internal/external elbow | ITEM | 16 | 65 | 1040 | 65 | 1040 | 2080 | 50 | 800 | 40 | 640 | 1440 | 57.94 | 927.04 | 43.27 | 692.32 | 1619.36 | 105 | 1680 | 40 | 640 | 2320 | 60.71 | 971.36 | 76.82 | 1229.12 | 2200.48 | 65 | 1040 | 25 | 400 | 1440 | 195 | 3120 | 78 | 1248 | 4368
| End Caps | ITEM | 24 | 42 | 1008 | 42 | 1008 | 2016 | 30 | 720 | 25 | 600 | 1320 | 43.18 | 1036.32 | 12.4 | 297.6 | 1333.92 | 48 | 1152 | 35 | 840 | 1992 | 43.76 | 1050.24 | 23.84 | 572.16 | 1622.4 | 45 | 1080 | 10 | 240 | 1320 | 65 | 1560 | 78 | 1872 | 3432
4 | Wired 16A switched socket outlet
| complete with covers, wiring | [29 empty] | 25
terminations and all accessories, mounted on power skirting.
4.1 | Install 16A, SSO per point basis | ITEM | 30 | 175 | 5250 | 175 | 5250 | 10500 | 75 | 2250 | 45 | 1350 | 3600 | 84 | 2520 | 96 | 2880 | 5400 | 150 | 4500 | 105 | 3150 | 7650 | 252.15 | 7564.5 | 303.25 | 9097.5 | 16662 | 63 | 1890 | 95.5 | 2865 | 4755 | 585 | 17550 | 156 | 4680 | 22230
4.2 | 25mm x 4 core PVC SWA | M | 45 | [15 empty] | 124.8 | 5616 | 19.65 | 884.25 | 6500.25 | [10 empty] | 156 | 7020 | 39 | 1755 | 8775
4.3 | 25mm K - Clamp | ITEM | 20 | [15 empty] | 20 | 400 | 17 | 340 | 740 | [10 empty] | 39 | 780 | 26 | 520 | 1300
4.4 | 16mm ICEW (Insulated type-Black) | M | 100 | [15 empty] | 22.61 | 2261 | 2.9 | 290 | 2551 | [10 empty] | 39 | 3900 | 13 | 1300 | 5200
5 | 32A 5-PIN 400v Industrial Welding SSO | No | 20 | 735 | 14700 | 300 | 6000 | 20700 | 400 | 8000 | 130 | 2600 | 10600 | 463.4 | 9268 | 185.4 | 3708 | 12976 | 225 | 4500 | 40 | 800 | 5300 | 407.65 | 8153 | 198.68 | 3973.6 | 12126.6 | 480 | 9600 | 150 | 3000 | 12600 | 1105 | 22100 | 325 | 6500 | 28600
| Disconnect & Remove Existing DB | [19 empty] | 5200 | 5200 | 5200
6 | Cabling
6.1 | 4mm² GP Wire | M | 1700 | 5.3 | 9010 | 5.8 | 9860 | 18870 | 5.01 | 8517 | 6 | 10200 | 18717 | 7.95 | 13515 | 4.95 | 8415 | 21930 | 4.9 | 8330 | 2.5 | 4250 | 12580 | 5.12 | 8704 | 4.5 | 7650 | 16354 | 8.5 | 14450 | 4 | 6800 | 21250
6.2 | 2mm² ICEW (Green & Yellow) | M | 280 | 5.5 | 1540 | 7 | 1960 | 3500 | 3.02 | 845.6 | 4 | 1120 | 1965.6 | 4.54 | 1271.2 | 5.2 | 1456 | 2727.2 | 2.8 | 784 | 2.5 | 700 | 1484 | 3.3 | 924 | 4.5 | 1260 | 2184 | 4.59 | 1285.2 | 4 | 1120 | 2405.2
7 | 25mm² PVC Conduit | M | 410 | 18 | 7380 | 33 | 13530 | 20910 | 10 | 4100 | 14 | 5740 | 9840 | 14.8 | 6068 | 17.3 | 7093 | 13161 | 6.25 | 2562.5 | 6.4 | 2624 | 5186.5 | 4.9 | 2009 | 51.13 | 20963.3 | 22972.3 | 4.55 | 1865.5 | 3.75 | 1537.5 | 3403
| Disconnect & Remove Existing DB | [19 empty] | 2500 | 2500 | 2500
| SAFETY FILE | [7 empty] | 6000 | 6000 |  |  | 6000
|  | SUBTOTAL | [5 empty] | 231448.76 |  |  |  |  | 180317.6 |  |  |  |  | 203432.5 |  |  |  |  | 178937.35 |  |  |  |  | 209845.4 |  |  |  |  | 164893.7 |  |  |  |  | 228233
|  | VAT | [5 empty] | 0 |  |  |  |  | 25244.464 |  |  |  |  | 28480.55 |  |  |  |  | 25051.229 |  |  |  |  | 29378.356 |  |  |  |  | 23085.118 |  |  |  |  | 31952.62
|  | TOTAL | [5 empty] | 231448.76 |  |  |  |  | 205562.064 |  |  |  |  | 231913.05 |  |  |  |  | 203988.579 |  |  |  |  | 239223.756 |  |  |  |  | 187978.818 |  |  |  |  | 260185.62

## PRICING
ITEM | DESCRIPTION | CAMPUS | QUANTITY | 2023 | 2024 | 2025
1 | HT Breaker (OCB) | ALL FOUR CAMPUSES | 64
2 | HT Breaker (VCB) | ALL FOUR CAMPUSES | 11
3 | HT Breaker (ACB) | ALL FOUR CAMPUSES | 5
4 | HT Breaker (SF6) | ALL FOUR CAMPUSES | 23
5 | Transformer (11/0.4 KV) | ALL FOUR CAMPUSES | 59
6 | Bus Bars | ALL FOUR CAMPUSES | 4
7 | Isolator | ALL FOUR CAMPUSES | 68
8 | Earthing Points(Bar and Rods) | ALL FOUR CAMPUSES | -
9 | Cable condition monitoring *Cable between Coucil and main Sub AND split to the rings | ALL FOUR CAMPUSES | -
SUB TOTAL
VAT 15%
GRAND TOTAL
GRAND TOTAL FOR THE 3 YEAR PERIOD INCLUDING TESTS AS PER SPEC EXCLUDING VAT

## SITES
| VCB | OCB | SF6 | ISOLATOR | ACB | TRANSFORMER
SWC | 4 | 7 | 7 | 28 |  | 11
APB |  | 5 | 7 | 16 | 5 | 9
DFC | 2 | 19 | 5 | 10 |  | 16
APK | 5 | 33 | 4 | 14 |  | 23
| 11 | 64 | 23 | 68 | 5 | 59