## Unpriced BOQ
Item no | Description | Unit | QTY | Rate | Total amount
A | PRELIMINARY AND GENERAL
GENERAL
The contractor shall carry out the whole work with as little mess and noise as possible and with a minimum of disturbance to adjoining premises and their tenants. He shall provide proper protection and provide and erect any temporary tarpaulins that may be necessary during the progress of the works, all to the satisfaction of the UJ agent, and remove when directed.
Any water supply pipes and other piping that may be met with and found necessary to disconnect or cut, shall be effectually stopped off or grubbed up and removed, and any new connections that may be necessary shall be made with proper fittings, to the satisfaction of the Maintenance Manager.
All inferior work shall, on indication by the Department’s inspecting officers, immediately be removed and rectified by and at the expense of the Contractor
Wherever applicable the material is to comply with the relevant South African Bureau of Standards or specifications
1 | Protection of adjoining structures
2 | Removal of all rubble and site to be left clean and sound on completion of work
B | STORM WATER DRAINS
Clean storm water drainage with suitable chemicals where applicable
Clean storm water drainage using preferably sewer jetting and/or mechanical drain to loosen and remove fat build-up, sewer waste and debris
Ensure equipment accessibility in confined spaces
Ensure proper cleaning to ensure prolonged drainage functionality prior to next deep clean
1 | Technical Services | no | 6
2 | Adelaide Tambo Building | no | 6
3 | Library | no | 7
4 | Ellen Kuzwayo | no | 8
5 | TW Khambule | no | 12
6 | Ukhamba Building | no | 15
7 | Nthato Motloana | no | 3
8 | Ismael Mohammed | no | 10
9 | Imbizo | no | 7
Carried to collection
Brought forward to collection |  | Unit
10 | Student Parking or Bus Stop | no | 12
11 | Enoch Sontonga | no | 4
12 | Student Centre | no | 2
13 | Ulwazi Residence | no | 26
14 | Generic buildings | no | 8
15 | Funda Ujabule | no | 14
16 | Hector Pieterson Residence and surroundings | no | 50
17 | New residence (Imbewu) | no | 2
17 | Sports Centre area | no | 40
18 | Dig around V-drain ensuring the shape stays intact, where soil has collapsed patch on the sides. Clean around the bridge | m | 180
19 | Once off: Clear all tree shrubs, roots and debris opposite the bridge and allow for flow of water. Technical services to indicate areas during briefing | sum
C | GUTTERS
Contractor shall clean up, remove, and dispose of all debris associated with work to the bin provided for by the contractor. Maintain cleanliness of the buildings at all times.
All work is to be performed during regular working hours as per the University bylaws.
Contractor is responsible for protecting work of other trades from any damages caused by his own work.
Contractor shall be responsible for the repair and/or replacement of any protected trees damaged by his own work force.
Note: Focus more on sides that have trees, area usually clogged with tree leaves
1 | Technical services | m | 20
2 | Ukhamba building | m | 49
3 | Adelaide Tambo | m | 295
4 | Funda Ujabule | m | 20
5 | Arena Building | m | 40
DOWNPIPES
5 | Technical services | no | 7
6 | Ukhamba building | no | 32
7 | Adelaide Tambo | no | 2
Carried to collection
Brought forward to collection |  | Unit
8 | Funda Ujabule | no | 7
9 | Arena | no | 10
SUBTOTAL |  |  |  |  | 0
VAT @15% |  |  |  |  | 0
Total amount |  |  |  |  | 0