## BOQ Unpriced APK
Item no | Description | Unit | QTY | Rate | Total amount
A | PRELIMINARY AND GENERAL
GENERAL
The contractor shall carry out the whole work with as little mess and noise as possible and with a minimum of disturbance to adjoining premises and their tenants. He shall provide proper protection and provide and erect any temporary tarpaulins that may be necessary during the progress of the works, all to the satisfaction of the UJ agent, and remove when directed.
Any water supply pipes and other piping that may be met with and found necessary to disconnect or cut, shall be effectually stopped off or grubbed up and removed, and any new connections that may be necessary shall be made with proper fittings, to the satisfaction of the Maintenance Manager.
All inferior work shall, on indication by the Department’s inspecting officers, immediately be removed and rectified by and at the expense of the Contractor
Wherever applicable the material is to comply with the relevant South African Bureau of Standards or specifications
1 | Protection of adjoining structures | Item
2 | Removal of all rubble and site to be left clean and sound on completion of work | Item
B | STORM WATER DRAINS
Clean storm water drainage with suitable chemicals where applicable
Clean storm water drainage using preferably sewer jetting and/or mechanical drain to loosen and remove fat build-up, sewer waste and debris
Ensure equipment accessibility in confined spaces
Proper cleaning to ensure prolonged drainage functionality prior to next deep clean
1 | Campus Roof and Tunnel- Metal Mesh Grid Ways and Pipes | m | 140
2 | Student Centre - Metal Mesh Grid Ways and Pipes | m | 80
3 | Protection Service - Metal Mesh Grid Ways and Pipes | m | 40
4 | Substation 8 - Library/Madibeng Metal Mesh Grid Ways and Pipes | m | 200
5 | Substation 9 - SMK Fuel Filling Station Bay | m | 100
| Substation 6 - B Lab 1,2,3,4 - Metal Mesh Grid Ways and Pipes | m | 80
6 | Core 1,2,3,4,5 - Street - Metal Mesh Grid Ways and Pipes | m | 100
7 | Art and Gallary Centre - Metal Mesh Grid Ways and Pipes | m | 60
8 | Operations/Health and Safety Offices Metal Mesh Grid Ways and Pipes | m | 12
9 | Sophia Town Residance | m | 60
10 | Thomas Sankara / Student Town and Lesedi Residance | m | 90
11 | Glouchester and Streatley Ave Residence | m | 30
12 | 4 Goring and 4 Streatley House | m | 60
13 | Plumputting House,Chiselhurst 20 and 21 | m | 30
14 | Molesey Houese 3 VC House and House 5 and 9 | m | 30
15 | 40 Hampton Ave - 5. 51A,51B and 74 Twickenham Ave | m | 50
16 | Maqhawe,Cornerstone,Faranani,Impumelelo,Karibu - Jamii, Magnolia and Mosate Heights | m | 70
17 | Akademie Road House 3,5 and 9 | m | 60
19 | Student Ave House 23,25,27, and 29 | m | 80
20 | B 5 Building and Masada Building | m | 40
| Clear all tree shrubs, roots and debris on catch pits to allow for flow of water. Technical services to indicate areas during briefing | sum
Carried to collection |  |  |  |  | #VALUE!
Brought forward to collection |  | Unit |  |  | #VALUE!
C | GUTTERS
Contractor shall clean up, remove, and dispose of all debris associated with work to the bin provided for by the contractor. Maintain cleanliness of the buildings at all times.
All work is to be performed during regular working hours as per the University by-laws.
Contractor is responsible for protecting work of other trades from any damages caused by his own work.
Contractor shall be responsible for the repair and/or replacement of any protected trees damaged by his own work force.
Note: Focus more on sides that have trees, area usually blocked with tree leaves.
1 | Campus Roof and Tunnel- Metal Mesh Grid Ways and Pipes | m | 700m
2 | Student Centre - Metal Mesh Grid Ways and Pipes | m | 80
3 | Protection Service - Metal Mesh Grid Ways and Pipes | m | 40
4 | Substation 8 - Library/Madibeng Metal Mesh Grid Ways and Pipes | m | 200
5 | Substation 9 - SMK Fuel Filling Station Bay | m | 100
| Substation 6 - B Lab 1,2,3,4 - Metal Mesh Grid Ways and Pipes | m | 800
6 | Core 1,2,3,4,5 - Street - Metal Mesh Grid Ways and Pipes | m | 250
7 | Art and Gallary Centre - Metal Mesh Grid Ways and Pipes | m | 300
8 | Operations/Health and Safety Offices Metal Mesh Grid Ways and Pipes | m | 12
9 | Sophia Town Residance | m | 200
10 | Thomas Sankara / Student Town and Lesedi Residance | m | 900
11 | Glouchester and Streatley Ave Residence | m | 300
12 | 4 Goring and 4 Streatley House | m | 60
13 | Plumputting House,Chiselhurst 20 and 21 | m | 300
14 | Molesey Houese 3 VC House and House 5 and 9 | m | 300
15 | 40 Hampton Ave - 5. 51A,51B and 74 Twickenham Ave | m | 500
16 | Maqhawe,Cornerstone,Faranani,Impumelelo,Karibu - Jamii, Magnolia and Mosate Heights | m | 700
17 | Akademie Road House 3,5 and 9 | m | 60
19 | Student Ave House 23,25,27, and 29 | m | 80
20 | B 5 Building and Masada Building | m | 400
| Clear all tree shrubs, roots and debris on catch pits to allow for flow of water. Technical services to indicate areas during briefing | sum
D | DOWNPIPES,FULLBORES, DISCHARGE PIPES AND WEEP-HOLES
1 | Campus Roof and Tunnel- Metal Mesh Grid Ways and Pipes | m | 700m
2 | Student Centre - Metal Mesh Grid Ways and Pipes | m | 80
3 | Protection Service - Metal Mesh Grid Ways and Pipes | m | 40
4 | Substation 8 - Library/Madibeng Metal Mesh Grid Ways and Pipes | m | 200
5 | Substation 9 - SMK Fuel Filling Station Bay | m | 100
| Substation 6 - B Lab 1,2,3,4 - Metal Mesh Grid Ways and Pipes | m | 800
6 | Core 1,2,3,4,5 - Street - Metal Mesh Grid Ways and Pipes | m | 250
7 | Art and Gallary Centre - Metal Mesh Grid Ways and Pipes | m | 300
8 | Operations/Health and Safety Offices Metal Mesh Grid Ways and Pipes | m | 12
9 | Sophia Town Residance | m | 200
10 | Thomas Sankara / Student Town and Lesedi Residance | m | 900
11 | Glouchester and Streatley Ave Residence | m | 300
12 | 4 Goring and 4 Streatley House | m | 60
13 | Plumputting House,Chiselhurst 20 and 21 | m | 300
14 | Molesey Houese 3 VC House and House 5 and 9 | m | 300
15 | 40 Hampton Ave - 5. 51A,51B and 74 Twickenham Ave | m | 500
16 | Maqhawe,Cornerstone,Faranani,Impumelelo,Karibu - Jamii, Magnolia and Mosate Heights | m | 700
17 | Akademie Road House 3,5 and 9 | m | 60
19 | Student Ave House 23,25,27, and 29 | m | 80
20 | B 5 Building and Masada Building |  | 400
| Clear all tree shrubs, roots and debris on catch pits to allow for flow of water. Technical services to indicate areas during briefing | sum
SUBTOTAL
VAT @15%
Total amount