## BOQ Unpriced APB
| Description | Unit | QTY | Rate | Total amount
A | PRELIMINARY AND GENERAL
GENERAL
The contractor shall carry out the whole work with as little mess and noise as possible and with a minimum of disturbance to adjoining premises and their tenants. He shall provide proper protection and provide and erect any temporary tarpaulins that may be necessary during the progress of the works, all to the satisfaction of the UJ agent, and remove when directed.
Any water supply pipes and other piping that may be met with and found necessary to disconnect or cut, shall be effectually stopped off or grubbed up and removed, and any new connections that may be necessary shall be made with proper fittings, to the satisfaction of the Maintenance Manager.
All inferior work shall, on indication by the Department’s inspecting officers, immediately be removed and rectified by and at the expense of the Contractor
Wherever applicable the material is to comply with the relevant South African Bureau of Standards or specifications
1 | Protection of adjoining structures | Item
2 | Removal of all rubble and site to be left clean and sound on completion of work | Item
B | STORM WATER DRAINS
Clean storm water drainage with suitable chemicals where applicable
Clean storm water drainage using preferably sewer jetting and/or mechanical drain to loosen and remove fat build-up, sewer waste and debris
Ensure equipment accessibility in confined spaces
Proper cleaning to ensure prolonged drainage functionality prior to next deep clean
1 | Campus Roof and Tunnel -Block A, B, C, D,E,F,G,H,and I - Metal Mesh Grid Ways and Pipes | m | 500
2 | Student Centre - Metal Mesh Grid Ways and Pipes | m | 150
3 | Protection Service - Metal Mesh Grid Ways and Pipes | m | 40
4 | Library - Metal Mesh Grid Ways and Pipes | m | 80
7 | Gym Centre - Metal Mesh Grid Ways and Pipes | m | 200
8 | Stable, Duiker and Health Clinik | m | 60
9 | Goud Stad Residance | m | 60
10 | Hospital Flat and Workshop | m | 60
11 | No 1 Bunding road and Bunding Road | m | 800
12 | STH and FADA | m | 500
13 | Ndlovukazi , Horison and Majuba | m | 240
14 | Maine and Henleyweg House | m | 240
15 | Rag Farm House and Sport Grounds | m | 240
16 | Clear all tree shrubs, roots and debris on catch pits to allow for flow of water. Technical services to indicate areas during briefing | sum
Carried to collection |  |  |  |  | #REF!
Brought forward to collection |  | Unit |  |  | #REF!
C | GUTTERS
Contractor shall clean up, remove, and dispose of all debris associated with work to the bin provided for by the contractor. Maintain cleanliness of the buildings at all times.
All work is to be performed during regular working hours as per the University by-laws.
Contractor is responsible for protecting work of other trades from any damages caused by his own work.
Contractor shall be responsible for the repair and/or replacement of any protected trees damaged by his own work force.
Note: Focus more on sides that have trees, area usually blocked with tree leaves.
1 | Campus Roof and Tunnel -Block A, B, C, D,E,F,G,H,and I - Metal Mesh Grid Ways and Pipes | m | 500
2 | Student Centre - Metal Mesh Grid Ways and Pipes | m | 300
3 | Protection Service - Metal Mesh Grid Ways and Pipes | m | 40
4 | Library - Metal Mesh Grid Ways and Pipes | m | 80
7 | Gym Centre - Metal Mesh Grid Ways and Pipes | m | 200
8 | Stable, Duiker and Health Clinik | m | 60
9 | Goud Stad Residance | m | 60
10 | Hospital Flat and Workshop | m | 60
11 | STH and FADA | m | 1000
12 | Ndlovukazi , Horison and Majuba | m | 240
13 | Maine and Henleyweg House | m | 240
14 | Rag Farm House and Sport Grounds | m | 150
Carried to collection |  |  |  |  | #REF!
Brought forward to collection |  | Unit |  |  | #REF!
D | DOWNPIPES,FULLBORES, DISCHARGE PIPES AND WEEP-HOLES
1 | Campus Roof and Tunnel -Block A, B, C, D,E,F,G,H,and I - Metal Mesh Grid Ways and Pipes | m | 400
2 | Student Centre - Metal Mesh Grid Ways and Pipes | m | 250
3 | Protection Service - Metal Mesh Grid Ways and Pipes | m | 40
4 | Library - Metal Mesh Grid Ways and Pipes | m | 80
7 | Gym Centre - Metal Mesh Grid Ways and Pipes | m | 150
8 | Stable, Duiker and Health Clinik | m | 60
9 | Goud Stad Residance | m | 60
10 | Hospital Flat and Workshop | m | 60
11 | No 1 Bunding road and Bunding Road | m | 400
12 | STH and FADA | m | 600
13 | Ndlovukazi , Horison and Majuba | m | 200
14 | Maine and Henleyweg House | m | 200
15 | Rag Farm House and Sport Grounds | m | 200
Carried to collection |  |  |  |  | #REF!
Brought forward to collection |  | Unit |  |  | #REF!
SUBTOTAL
VAT @15%
Total amount