## BOQ Unpriced
| Description | Unit | QTY | Rate | Total amount
A | PRELIMINARY AND GENERAL
GENERAL
The contractor shall carry out the whole work with as little mess and noise as possible and with a minimum of disturbance to adjoining premises and their tenants. He shall provide proper protection and provide and erect any temporary tarpaulins that may be necessary during the progress of the works, all to the satisfaction of the UJ agent, and remove when directed.
Any water supply pipes and other piping that may be met with and found necessary to disconnect or cut, shall be effectually stopped off or grubbed up and removed, and any new connections that may be necessary shall be made with proper fittings, to the satisfaction of the Maintenance Manager.
All inferior work shall, on indication by the Department’s inspecting officers, immediately be removed and rectified by and at the expense of the Contractor
Wherever applicable the material is to comply with the relevant South African Bureau of Standards or specifications
Item
1 | Protection of adjoining structures
2 | Removal of all rubble and site to be left clean and sound on completion of work | Item
B | STORM WATER DRAINS
Clean storm water drainage with suitable chemicals where applicable
Clean storm water drainage using preferably sewer jetting and/or mechanical drain to loosen and remove fat build-up, sewer waste and debris
Ensure equipment accessibility in confined spaces
Proper cleaning to ensure prolonged drainage functionality prior to next deep clean
1 | Transport | m | 12
2 | Campus | m | 2432
3 | Kodak/Synagogue | m | 27
4 | Operations/Health and Safety Offices | m | 6
5 | Lesedi | m | 22
6 | Habitat A and B | m | 36
7 | Akanani | m | 24
8 | Robin Crest | m | 41
Carried to collection
Brought forward to collection |  | Unit
9 | Clear all tree shrubs, roots and debris on catch pits to allow for flow of water. Technical services to indicate areas during briefing | sum
C | GUTTERS
Contractor shall clean up, remove, and dispose of all debris associated with work to the bin provided for by the contractor. Maintain cleanliness of the buildings at all times.
All work is to be performed during regular working hours as per the University by-laws.
Contractor is responsible for protecting work of other trades from any damages caused by his own work.
Contractor shall be responsible for the repair and/or replacement of any protected trees damaged by his own work force.
Note: Focus more on sides that have trees, area usually blocked with tree leaves.
1 | Technical services | m | 18
2 | Transport | m | 164
3 | Student Life and Accomodation | m | 125
4 | Student Juditiary | m | 111
5 | Psycad | m | 96
6 | House 3 | m | 94
7 | Campus Clinic | m | 97
8 | Law Clinic | m | 98
9 | Student Center | m | 111
10 | Water Plant Station | m | 49
11 | Koffin | m | 92
12 | Quadrum | m | 128
13 | Old Franks Canteen/Peets/Abailies. | m | 226
14 | MSA | m | 96
15 | Workshop | m | 49
16 | Health and safety | m | 98
17 | Operations Offices | m | 65
18 | Synagogue | m | 172
19 | Kodak | m | 164
Carried to collection
Brought forward to collection |  | Unit
20 | Lesedi | m | 103
21 | Takalani | m | 108
22 | Lesley Boyd | m | 271
23 | Lwazi | m | 40
24 | Health Clinic | m | 68
25 | Civil Engineering | m | 95
26 | John Orr | m | 621
27 | Maropeng | m | 56
28 | Procurement | m | 22
D | DOWNPIPES,FULLBORES, DISCHARGE PIPES AND WEEP-HOLES
1 | Technical services | no | 4
2 | Transport | no | 19
3 | Student Life and Accomodation | no | 17
4 | Student Juditiary | no | 14
5 | Psycad | no | 14
6 | House 3 | no | 14
7 | Campus Clinic | no | 14
8 | Law Clinic | no | 14
9 | Student Center | no | 7
10 | Water Plant Station | no | 12
11 | Koffin | no | 6
12 | Quadrum | no | 8
13 | Old Franks Canteen/Peets/Abailies | no | 16
14 | MSA | no | 8
15 | Workshop | no | 8
15 | Operations Offices | no | 12
17 | Synagogue | no | 23
18 | Kodak | no | 25
Carried to collection
Brought forward to collection |  | Unit
19 | Lesedi | no | 21
20 | Takalani | no | 4
21 | Phumlani | no | 4
22 | Gauta | no | 4
23 | Lesley Boyd | no | 52
24 | Lwazi | no | 8
25 | Health Clinic | no | 9
26 | Civil Engineering | no | 15
27 | John Orr | no | 276
28 | Q/K | no | 38
29 | Buxton | no | 8
30 | Robin Crest | no | 14
31 | Akanani | no | 7
32 | Kopano | no | 12
33 | habitat block A and B | no | 14
34 | Maropeng | no | 20
35 | Procurement | no | 4
SUBTOTAL
VAT @15%
Total amount